## Slide 1: ivy - testing in minimum time with command device
August 9, 2016 Allart Ian Vogelesang ian.vogelesang@hds.com

## Slide 2: For Hitachi authorized users
If a command device is found to a subsystem being tested
  And RMLIB is installed
  And the Hitachi proprietary "command device connector" (ivy_cmddev executable) is installed
  And a license key for that subsystem is installed
Then ivy will automatically and transparently use the command device, and some additional functionality is available for the measure feature.

## Slide 3: measure parameter "shorthand" settings
Basic measure shorthand settings measure = IOPS measure = MB_per_second measure = service_time_seconds measure = response_time_seconds
For Hitachi internal lab use with "command device connector" measure = MP_core_busy_percent measure = PG_busy_percent measure = CLPR_WP_percent
These are "shorthand"
  See "ivy programmer's reference" for more detail

## Slide 4: measure Write Pending criteria with command device
max_wp = 2% - default “100%”
  A subinterval sequence will be rejected if WP is above max_wp at any point in the sequence.
  Use this for read tests to ensure WP is empty during the test.
min_wp = 68% - default “0%”
  A subinterval sequence will be rejected if WP is below min_wp at any point in the sequence.
  Use this for write tests to ensure WP is full during the test.
max_wp_range = 3% - default “3%”
  A subinterval sequence will be rejected if WP varies up and down by more than the specified (absolute) amount at any point in the sequence. max_wp_range = 3% matches from 0% to 3%, as well as from 67% to 70%.
  Use this in general all the time so you reject periods with major movement in Write Pending.

## Slide 5: The cooldown_by_wp setting – optimize elapsed time
cooldown_by_wp = on is the default when a command device connector is available.
cooldown_by_wp = on extends the cooldown period after a measurement with IOPS=0 for additional subintervals as necessary until we see via the command device that WP is empty.
This is independent of whether or not you use the measure feature.
cooldown_by_wp=off uses a single cooldown subinterval.

## Slide 6: cooldown_by_wp strategy
Set cooldown_by_wp=off when it is valid to carry forward WP from one test step to the next.
This can speed up the next test step tremendously if the next step doesn’t stabilize until WP is full, AND if both steps place the SAME things into WP.
  The same things draining to the same back-end pool / PGs.
If you are switching, say, from testing 4 KiB blocks to testing 8 KiB blocks, then after you make two trials, one with cooldown_by_wp set to on and one set to off, you can see if carrying WP over from the previous step with the different blocksize makes a difference. After seeing and thinking about it, will know if cooldown_by_wp=off is OK.

## Slide 7: Designing your test to run in mimimal time
Use min_wp / max_wp / max_wp_range with measure to measure only when wp has stabilized.
  Lets you use looser accuracy / confidence parameters for a faster test if you don’t need a meticulously accurate result, without losing detection of WP stabilization.
With or without measure, use cooldown_by_wp where appropriate to carry WP contents forward from one test step to another, to minimize warmup time.

## Slide 8: Questions and Discussion

## Slide 9: Thank You